## Report
PREMIER ENERGIES PHOTOVOLTAIC PRIVATE LIMITED
Address: Plot No 8/B/1 and 8/B/2, Sy No 62 P 63, And 88 P, E City, Raviryala, Village, Maheshwaram Mandal, Ranga Reddy, TELANGANA,501359
WATER CONSUMPTION REPORT
From Date: 01-11-2025 To Date: 14-11-2025
Print Date: 14/11/2025
SL. NO | DATE | BASEMENT_TO_TOB_RAW_WATER_FM_1 | LIMEPLANT_TO_ETP_FM_2 | DI_RAW_INLET_FM_3 | DI_SCRUBBERS_FM_4 | PHASE_2_RAW_WATER_FM_5 | TW_TO_EARTH_PITS_FM_6 | RW_PHASE_2_SCRUBBER_LINE_FM_7 | TW_ADMIN_FM_8 | SOFT_TO_COOLING_TOWERS_FM_9 | RW_ADMIN_FM_10 | RW_UTILITY_TOILETS_FM_11 | TW_UTILITY_TOILETS_FM_12 | STORAGE_TO_PHASE_1_FM_13 | HMWSSB_PHASE_1_FM_14 | POND_TO_TOPCON_FM_15 | HMWSSB_TO_TOPCON_FM_16 | BASEMENT_TO_TOB_TREATED_WATER_FM_17 | RAW_TO_UTILITY_TOILETS_2_FM_18 | CONDENSED_LINE_FM_19 | TW_SHED_B_TOILETS_FM_20 | RW_TO_SHED_B_TOILETS_FM_21 | COOLING_TOWERS_TO_RO_FM_22 | P2_ZLD_TO_TOPCON_ZLD_FM_23 | TOTAL
1 | 2025-11-05 | 8466 | 0 | 5118 | 7855 | 917 | 645 | 0 | 0 | 7391 | 0 | 0 | 969 | 8021 | 22008 | 3139 | 46767 | 0 | 9187 | 3328 | 0 | 0 | 0 | 0 | 123811
2 | 2025-11-06 | 23685 | 0 | 14384 | 22900 | 2951 | 9292 | 0 | 0 | 28323 | 0 | 0 | 25306 | 51288 | 82309 | 10711 | 149294 | 0 | 28733 | 9162 | 0 | 1115 | 0 | 0 | 459453
3 | 2025-11-07 | 10424 | 0 | 5139 | 10362 | 1142 | 4568 | 0 | 0 | 15155 | 0 | 0 | 21748 | 28339 | 36972 | 4996 | 69239 | 0 | 12644 | 3897 | 0 | 1115 | 0 | 0 | 225740
| Total | 42575 | 0 | 24641 | 41117 | 5010 | 14505 | 0 | 0 | 50869 | 0 | 0 | 48023 | 87648 | 141289 | 18846 | 265300 | 0 | 50564 | 16387 | 0 | 2230 | 0 | 0 | 809004