## Report
PREMIER ENERGIES PHOTOVOLTAIC PRIVATE LIMITED
WATER CONSUMPTION REPORT
From Date: 01-02-2026 To Date: 28-02-2026
Print Date: 05/03/2026
SL. NO | DATE | BASEMENT_TO_TOB_RAW_WATER_FM_1 | LIMEPLANT_TO_ETP_FM_2 | DI_RAW_INLET_FM_3 | DI_SCRUBBERS_FM_4 | PHASE_2_RAW_WATER_FM_5 | TW_TO_EARTH_PITS_FM_6 | RW_PHASE_2_SCRUBBER_LINE_FM_7 | TW_ADMIN_FM_8 | SOFT_TO_COOLING_TOWERS_FM_9 | RW_ADMIN_FM_10 | RW_UTILITY_TOILETS_FM_11 | TW_UTILITY_TOILETS_FM_12 | STORAGE_TO_PHASE_1_FM_13 | HMWSSB_PHASE_1_FM_14 | POND_TO_TOPCON_FM_15 | HMWSSB_TO_TOPCON_FM_16 | BASEMENT_TO_TOB_TREATED_WATER_FM_17 | RAW_TO_UTILITY_TOILETS_2_FM_18 | CONDENSED_LINE_FM_19 | TW_SHED_B_TOILETS_FM_20 | RW_TO_SHED_B_TOILETS_FM_21 | COOLING_TOWERS_TO_RO_FM_22 | P2_ZLD_TO_TOPCON_ZLD_FM_23 | TOTAL
1 | 2026-02-01 00:00:00 | 23 | 15 | 0 | 97 | 6 | 0 | 1 | 0 | 196 | 2 | 0 | 0 | 248 | 237 | 111 | 532 | 43 | 0 | 4 | 22 | 5 | 41 | 0 | 1583
2 | 2026-02-02 00:00:00 | 26 | 14 | 0 | 103 | 5 | 0 | 2 | 0 | 168 | 1 | 0 | 0 | 272 | 272 | 112 | 517 | 44 | 0 | 12 | 22 | 8 | 28 | 0 | 1606
3 | 2026-02-03 00:00:00 | 43 | 11 | 0 | 88 | 5 | 3 | 3 | 0 | 203 | 2 | 0 | 0 | 267 | 281 | 112 | 474 | 32 | 0 | 10 | 25 | 8 | 37 | 0 | 1604
4 | 2026-02-04 00:00:00 | 29 | 17 | 0 | 92 | 7 | 0 | 2 | 1 | 179 | 6 | 0 | 0 | 343 | 323 | 121 | 376 | 17 | 0 | 12 | 21 | 4 | 60 | 0 | 1610
5 | 2026-02-05 00:00:00 | 30 | 8 | 0 | 85 | 8 | 1 | 1 | 1 | 192 | 6 | 0 | 0 | 334 | 372 | 113 | 515 | 66 | 0 | 13 | 19 | 7 | 51 | 0 | 1822
6 | 2026-02-06 00:00:00 | 40 | 7 | 0 | 84 | 5 | 0 | 2 | 0 | 202 | 2 | 0 | 0 | 318 | 350 | 121 | 524 | 46 | 0 | 7 | 24 | 6 | 55 | 0 | 1793
7 | 2026-02-07 00:00:00 | 41 | 6 | 0 | 46 | 13 | 1 | 2 | 0 | 238 | 2 | 0 | 0 | 281 | 252 | 112 | 380 | 62 | 0 | 5 | 24 | 6 | 62 | 0 | 1533
8 | 2026-02-08 00:00:00 | 27 | 17 | 0 | 55 | 4 | 0 | 2 | 0 | 204 | 1 | 0 | 0 | 344 | 328 | 117 | 172 | 14 | 0 | 1 | 18 | 6 | 51 | 0 | 1361
9 | 2026-02-09 00:00:00 | 50 | 2 | 0 | 75 | 22 | 3 | 2 | 0 | 201 | 2 | 0 | 0 | 305 | 316 | 110 | 464 | 31 | 0 | 1 | 19 | 6 | 40 | 0 | 1649
10 | 2026-02-10 00:00:00 | 26 | 20 | 0 | 84 | 5 | 0 | 1 | 1 | 197 | 1 | 0 | 0 | 313 | 203 | 117 | 529 | 17 | 0 | 0 | 22 | 5 | 46 | 0 | 1587
11 | 2026-02-11 00:00:00 | 34 | 15 | 0 | 46 | 7 | 0 | 2 | 0 | 221 | 1 | 0 | 0 | 279 | 221 | 119 | 475 | 21 | 0 | 4 | 21 | 5 | 55 | 0 | 1526
12 | 2026-02-12 00:00:00 | 26 | 28 | 0 | 51 | 6 | 4 | 3 | 0 | 188 | 2 | 0 | 0 | 335 | 303 | 119 | 202 | 19 | 0 | 6 | 18 | 5 | 31 | 0 | 1346
13 | 2026-02-13 00:00:00 | 32 | 18 | 0 | 47 | 4 | 0 | 1 | 0 | 223 | 2 | 0 | 0 | 312 | 323 | 120 | 496 | 15 | 0 | 3 | 17 | 5 | 48 | 0 | 1666
14 | 2026-02-14 00:00:00 | 22 | 40 | 0 | 54 | 4 | 0 | 2 | 0 | 210 | 1 | 0 | 0 | 356 | 351 | 115 | 473 | 8 | 0 | 0 | 16 | 4 | 44 | 0 | 1700
15 | 2026-02-15 00:00:00 | 64 | 20 | 0 | 53 | 5 | 2 | 4 | 0 | 230 | 2 | 0 | 0 | 389 | 257 | 111 | 430 | 10 | 0 | 3 | 16 | 9 | 59 | 0 | 1664
16 | 2026-02-16 00:00:00 | 31 | 3 | 0 | 45 | 5 | 1 | 2 | 0 | 192 | 0 | 0 | 0 | 313 | 405 | 118 | 381 | 23 | 0 | 2 | 19 | 6 | 42 | 0 | 1588
17 | 2026-02-17 00:00:00 | 25 | 14 | 0 | 64 | 5 | 2 | 2 | 0 | 254 | 2 | 0 | 0 | 341 | 146 | 117 | 332 | 51 | 0 | 4 | 23 | 6 | 85 | 0 | 1473
18 | 2026-02-18 00:00:00 | 28 | 22 | 0 | 104 | 9 | 0 | 2 | 0 | 233 | 1 | 0 | 0 | 351 | 426 | 119 | 471 | 27 | 0 | 5 | 20 | 6 | 76 | 0 | 1900
19 | 2026-02-19 00:00:00 | 35 | 15 | 0 | 104 | 10 | 0 | 1 | 0 | 247 | 2 | 0 | 0 | 328 | 258 | 115 | 455 | 53 | 0 | 6 | 18 | 4 | 83 | 0 | 1734
20 | 2026-02-20 00:00:00 | 26 | 20 | 0 | 104 | 6 | 0 | 2 | 0 | 234 | 2 | 0 | 0 | 312 | 349 | 120 | 502 | 36 | 0 | 7 | 17 | 5 | 67 | 0 | 1809
21 | 2026-02-21 00:00:00 | 35 | 19 | 0 | 101 | 3 | 2 | 3 | 0 | 196 | 1 | 0 | 0 | 347 | 258 | 119 | 288 | 42 | 0 | 9 | 18 | 6 | 39 | 0 | 1486
22 | 2026-02-22 00:00:00 | 18 | 9 | 0 | 94 | 5 | 0 | 2 | 0 | 254 | 1 | 0 | 0 | 295 | 145 | 121 | 404 | 32 | 0 | 12 | 20 | 6 | 94 | 0 | 1512
23 | 2026-02-23 00:00:00 | 17 | 23 | 0 | 101 | 4 | 0 | 2 | 0 | 225 | 1 | 0 | 0 | 137 | 138 | 121 | 336 | 36 | 0 | 14 | 24 | 6 | 69 | 0 | 1254
24 | 2026-02-24 00:00:00 | 20 | 12 | 0 | 101 | 6 | 0 | 2 | 0 | 192 | 0 | 0 | 0 | 88 | 220 | 123 | 455 | 17 | 0 | 9 | 18 | 6 | 50 | 0 | 1319
25 | 2026-02-25 00:00:00 | 64 | 6 | 0 | 97 | 3 | 0 | 1 | 0 | 199 | 1 | 0 | 0 | 317 | 279 | 123 | 504 | 20 | 0 | 12 | 18 | 4 | 52 | 0 | 1700
26 | 2026-02-26 00:00:00 | 24 | 20 | 0 | 96 | 4 | 0 | 7 | 0 | 214 | 1 | 0 | 0 | 372 | 202 | 114 | 424 | 49 | 0 | 8 | 19 | 13 | 72 | 0 | 1639
27 | 2026-02-27 00:00:00 | 47 | 13 | 0 | 94 | 2 | 2 | 3 | 0 | 192 | 1 | 0 | 0 | 131 | 236 | 122 | 388 | 27 | 0 | 6 | 17 | 8 | 52 | 0 | 1341
28 | 2026-02-28 00:00:00 | 26 | 15 | 0 | 96 | 7 | 0 | 1 | 0 | 228 | 1 | 0 | 0 | 301 | 292 | 116 | 440 | 34 | 0 | 8 | 33 | 5 | 75 | 0 | 1678
| Total | 909 | 429 | 0 | 2261 | 175 | 21 | 60 | 3 | 5912 | 47 | 0 | 0 | 8329 | 7743 | 3278 | 11939 | 892 | 0 | 183 | 568 | 170 | 1564 | 0 | 44483