## Report
PREMIER ENERGIES PHOTOVOLTAIC PRIVATE LIMITED
WATER CONSUMPTION REPORT
From Date: 2024-09-01 To Date: 2026-03-08
Print Date: 09/03/2026
SL. NO | DATE | BASEMENT_TO_TOB_RAW_WATER_FM_1 | LIMEPLANT_TO_ETP_FM_2 | DI_RAW_INLET_FM_3 | DI_SCRUBBERS_FM_4 | PHASE_2_RAW_WATER_FM_5 | TW_TO_EARTH_PITS_FM_6 | RW_PHASE_2_SCRUBBER_LINE_FM_7 | TW_ADMIN_FM_8 | SOFT_TO_COOLING_TOWERS_FM_9 | RW_ADMIN_FM_10 | RW_UTILITY_TOILETS_FM_11 | TW_UTILITY_TOILETS_FM_12 | STORAGE_TO_PHASE_1_FM_13 | HMWSSB_PHASE_1_FM_14 | POND_TO_TOPCON_FM_15 | HMWSSB_TO_TOPCON_FM_16 | BASEMENT_TO_TOB_TREATED_WATER_FM_17 | RAW_TO_UTILITY_TOILETS_2_FM_18 | CONDENSED_LINE_FM_19 | TW_SHED_B_TOILETS_FM_20 | RW_TO_SHED_B_TOILETS_FM_21 | COOLING_TOWERS_TO_RO_FM_22 | P2_ZLD_TO_TOPCON_ZLD_FM_23 | TOTAL
1 | 2025-11-05 | 4485 | 0 | 2616 | 4082 | 521 | 75 | 0 | 0 | 3270 | 0 | 0 | 358 | 2763 | 12504 | 1508 | 26571 | 0 | 4531 | 1744 | 0 | 0 | 0 | 0 | 65028
2 | 2025-11-06 | 21310 | 0 | 13322 | 20219 | 2555 | 6723 | 0 | 0 | 23667 | 0 | 0 | 15764 | 39728 | 68845 | 9331 | 129890 | 0 | 25272 | 8370 | 0 | 719 | 0 | 0 | 385715
3 | 2025-11-07 | 32694 | 0 | 15552 | 32688 | 3456 | 13795 | 0 | 0 | 48502 | 0 | 0 | 37671 | 91448 | 124625 | 15460 | 224478 | 0 | 40185 | 11685 | 0 | 3175 | 0 | 0 | 695414
4 | 2025-11-08 | 44101 | 0 | 15543 | 47676 | 3454 | 13816 | 0 | 0 | 76878 | 0 | 0 | 94414 | 136993 | 170553 | 22173 | 124636 | 0 | 55080 | 13816 | 622 | 5926 | 0 | 0 | 825681
5 | 2025-11-09 | 53398 | 0 | 15489 | 63125 | 3444 | 13776 | 0 | 0 | 103851 | 0 | 0 | 214507 | 185642 | 219129 | 28860 | 105698 | 0 | 68833 | 14891 | 1722 | 8828 | 0 | 0 | 1101193
6 | 2025-11-10 | 59192 | 0 | 15075 | 77669 | 4223 | 15113 | 0 | 0 | 127578 | 0 | 0 | 325777 | 227678 | 267299 | 34094 | 170576 | 0 | 79950 | 15075 | 1676 | 11317 | 0 | 0 | 1432292
7 | 2025-11-11 | 71756 | 0 | 15543 | 96488 | 5181 | 18997 | 0 | 0 | 162689 | 0 | 635 | 455866 | 286905 | 323342 | 41153 | 247291 | 0 | 94504 | 15543 | 1727 | 14849 | 0 | 0 | 1852469
8 | 2025-11-12 | 87078 | 0 | 15552 | 111036 | 6139 | 19008 | 0 | 0 | 186955 | 0 | 1728 | 298546 | 331859 | 374877 | 47607 | 335664 | 0 | 105787 | 15552 | 3059 | 21444 | 0 | 0 | 1961891
9 | 2025-11-13 | 98709 | 0 | 15552 | 124094 | 7474 | 19008 | 0 | 0 | 18055 | 0 | 1728 | 48258 | 382261 | 420318 | 54738 | 409576 | 0 | 118073 | 15552 | 3456 | 24961 | 0 | 0 | 1761813
10 | 2025-11-14 | 117396 | 0 | 15525 | 134083 | 12849 | 18975 | 0 | 0 | 50472 | 0 | 1725 | 99581 | 437647 | 471411 | 61548 | 493733 | 0 | 125689 | 15820 | 3450 | 27862 | 0 | 0 | 2087766
11 | 2025-11-15 | 134936 | 0 | 15543 | 144766 | 15257 | 18997 | 0 | 0 | 78410 | 0 | 1727 | 220264 | 484794 | 527264 | 69300 | 582529 | 0 | 134600 | 17270 | 4579 | 31191 | 0 | 0 | 2481427
12 | 2025-11-16 | 149840 | 0 | 15552 | 154766 | 17842 | 19008 | 0 | 0 | 109099 | 0 | 1728 | 341122 | 527496 | 581403 | 88767 | 648372 | 0 | 145681 | 17280 | 5184 | 34254 | 0 | 0 | 2857394
13 | 2025-11-17 | 182511 | 0 | 15543 | 171343 | 29586 | 18997 | 9936 | 4968 | 167071 | 4968 | 2055 | 282413 | 621347 | 634200 | 110411 | 708658 | 0 | 167242 | 17270 | 6935 | 47280 | 5741 | 0 | 3208475
14 | 2025-11-18 | 1592216 | 8110 | 8190 | 121922 | 350672 | 196460 | 31296 | 54403 | 3478522 | 8678 | 329571 | 557399 | 17264231 | 17245177 | 263726 | 23518821 | 0 | 1488774 | 946268 | 170369 | 566248 | 11707 | 7544 | 68220304
15 | 2025-11-19 | 3317003 | 40918 | 0 | 6170 | 966934 | 582357 | 39744 | 593425 | 9336095 | 3400 | 873047 | 575424 | 39965184 | 40277429 | 395006 | 55050966 | 5529 | 3912739 | 8855230 | 473377 | 1498055 | 15482 | 66547 | 166850061
16 | 2025-11-20 | 3467075 | 70262 | 0 | 14828 | 1060505 | 599664 | 39675 | 831450 | 9621922 | 3464 | 898883 | 574425 | 39895800 | 40242495 | 408200 | 54976304 | 25663 | 4005435 | 17997872 | 497981 | 1505778 | 25000 | 143714 | 176906395
17 | 2025-11-21 | 3651309 | 80815 | 0 | 23672 | 1169283 | 608276 | 39757 | 832896 | 9955568 | 5184 | 910973 | 575424 | 39965184 | 40389319 | 423035 | 55162341 | 35379 | 4123711 | 27234729 | 522747 | 1510639 | 34671 | 221629 | 187476541
18 | 2025-11-22 | 3822954 | 96461 | 0 | 32302 | 1249245 | 615874 | 42343 | 832896 | 10272509 | 5184 | 914112 | 575424 | 39965184 | 40449132 | 434777 | 55222664 | 11193 | 4219066 | 36539809 | 547104 | 1522150 | 44951 | 300019 | 197715353
19 | 2025-11-23 | 3925072 | 146175 | 0 | 41237 | 1347730 | 611365 | 42430 | 813134 | 10364829 | 6697 | 892423 | 561771 | 39017802 | 39544312 | 439528 | 53966893 | 31347 | 4197814 | 44888252 | 562534 | 1499894 | 53050 | 370853 | 203325142
20 | 2025-11-24 | 4174149 | 161581 | 0 | 52368 | 1492256 | 630667 | 44928 | 832896 | 10945049 | 6912 | 914112 | 575424 | 39966912 | 40573127 | 465289 | 55341657 | 49629 | 4351643 | 54638143 | 602269 | 1547664 | 64728 | 457234 | 217888637
21 | 2025-11-25 | 4276878 | 195165 | 0 | 31665 | 1596519 | 623729 | 38378 | 425606 | 10781622 | 4254 | 467107 | 294039 | 40750955 | 41341194 | 736847 | 28364672 | 119077 | 4391372 | 28225467 | 581569 | 1487638 | 190554 | 358824 | 165283131
22 | 2025-11-26 | 4442116 | 223505 | 0 | 10763 | 1802373 | 647319 | 33980 | 0 | 11294035 | 1231 | 0 | 0 | 43677155 | 44036620 | 1116724 | 539061 | 213018 | 4554403 | 1137159 | 592868 | 1529268 | 343059 | 464856 | 116659513
23 | 2025-11-27 | 2642321 | 146079 | 0 | 11679 | 1071756 | 380619 | 19980 | 0 | 6824713 | 1737 | 0 | 0 | 25920813 | 26072522 | 696919 | 607576 | 151291 | 2729416 | 672143 | 367004 | 902386 | 206355 | 373512 | 69798821
24 | 2025-11-28 | 31544 | 60629 | 0 | 9451 | 7226 | 0 | 0 | 0 | 320392 | 1149 | 0 | 0 | 435146 | 292027 | 64658 | 321088 | 25418 | 96956 | 0 | 30112 | 5752 | 10067 | 737237 | 2448852
25 | 2025-11-29 | 59110 | 94227 | 0 | 21776 | 19143 | 0 | 253 | 0 | 649539 | 3043 | 0 | 0 | 844950 | 708290 | 133305 | 963123 | 48340 | 203270 | 0 | 61570 | 15065 | 21895 | 1527494 | 5374393
26 | 2025-11-30 | 89078 | 202291 | 0 | 71436 | 30196 | 0 | 2582 | 0 | 994398 | 5012 | 0 | 0 | 1333201 | 1192647 | 206621 | 1600533 | 72361 | 309905 | 0 | 98926 | 32917 | 32845 | 2356907 | 8631856
27 | 2025-12-01 | 68115 | 113680 | 0 | 52346 | 19770 | 2085 | 3014 | 0 | 661303 | 3479 | 0 | 0 | 932825 | 699888 | 344806 | 1152106 | 50361 | 181083 | 0 | 66928 | 23822 | 21154 | 1508109 | 5904874
28 | 2025-12-02 | 80725 | 5436 | 0 | 56523 | 8717 | 7111 | 1727 | 0 | 363092 | 7309 | 0 | 0 | 614078 | 331697 | 809963 | 950452 | 37328 | 0 | 0 | 34811 | 10277 | 11824 | 6908 | 3337978
29 | 2025-12-03 | 108885 | 28352 | 0 | 75033 | 15735 | 10368 | 2723 | 0 | 725736 | 9941 | 0 | 0 | 1142993 | 882074 | 810432 | 1706529 | 77027 | 0 | 0 | 74497 | 19704 | 22141 | 6912 | 5719082
30 | 2025-12-04 | 145363 | 94362 | 0 | 107813 | 23569 | 11148 | 3186 | 1223 | 1051961 | 13498 | 0 | 0 | 1491563 | 1312460 | 747117 | 2255225 | 94121 | 0 | 0 | 101402 | 25563 | 34177 | 6372 | 7520123
31 | 2025-12-05 | 201577 | 125792 | 0 | 158696 | 35852 | 15039 | 4153 | 1671 | 1477499 | 20634 | 0 | 0 | 2012310 | 1820488 | 783699 | 3087527 | 126479 | 0 | 0 | 140629 | 38067 | 103535 | 6684 | 10160331
32 | 2025-12-06 | 251157 | 159134 | 0 | 227526 | 46396 | 25595 | 7518 | 1704 | 1901980 | 23704 | 0 | 0 | 2520982 | 2410716 | 798707 | 3894497 | 170625 | 0 | 0 | 177315 | 48883 | 222129 | 6812 | 12895380
33 | 2025-12-07 | 303283 | 182339 | 0 | 332678 | 57623 | 115613 | 9396 | 3090 | 2270272 | 30127 | 0 | 0 | 3050063 | 2961191 | 810432 | 4533612 | 210762 | 0 | 0 | 213329 | 60533 | 278995 | 6912 | 15430250
34 | 2025-12-08 | 327221 | 194081 | 0 | 414735 | 66611 | 186032 | 12089 | 3454 | 2628428 | 32443 | 0 | 0 | 3593034 | 3468383 | 809963 | 5045019 | 240222 | 0 | 0 | 240486 | 72602 | 331404 | 6908 | 17673115
35 | 2025-12-09 | 348216 | 211125 | 0 | 496303 | 75157 | 217015 | 13532 | 3402 | 2935518 | 33698 | 0 | 0 | 3942715 | 3906269 | 797769 | 5593831 | 283665 | 0 | 0 | 273829 | 82261 | 371215 | 7941 | 19593461
36 | 2025-12-10 | 382671 | 236652 | 0 | 614876 | 86365 | 230776 | 14460 | 3456 | 3360566 | 36047 | 0 | 0 | 4468963 | 4486191 | 810432 | 6237373 | 328343 | 0 | 0 | 315636 | 93448 | 410141 | 8640 | 22125036
37 | 2025-12-11 | 420607 | 242756 | 0 | 774426 | 96991 | 231418 | 15921 | 3454 | 3701196 | 38188 | 0 | 0 | 4975837 | 4927731 | 809963 | 6762433 | 363562 | 0 | 0 | 350214 | 101913 | 434012 | 8635 | 24259257
38 | 2025-12-12 | 463789 | 243771 | 0 | 945009 | 109371 | 241237 | 17280 | 3456 | 4019369 | 42321 | 0 | 0 | 5424428 | 5457098 | 810432 | 7366646 | 405360 | 0 | 0 | 390374 | 111246 | 463460 | 8640 | 26523287
39 | 2025-12-13 | 495143 | 244932 | 0 | 1103916 | 121630 | 262968 | 17736 | 4865 | 4355645 | 45968 | 0 | 0 | 5728968 | 5802897 | 804335 | 7836735 | 456863 | 0 | 0 | 423510 | 117035 | 497132 | 10236 | 28330514
40 | 2025-12-14 | 534809 | 248336 | 0 | 1256221 | 133891 | 271157 | 18931 | 5163 | 4696018 | 49529 | 0 | 0 | 6143884 | 6283042 | 807149 | 8531891 | 487433 | 0 | 0 | 462186 | 126135 | 536052 | 10326 | 30602153
41 | 2025-12-15 | 579328 | 252142 | 0 | 1398164 | 144370 | 294964 | 18997 | 5181 | 5041629 | 52842 | 0 | 0 | 6676334 | 6775049 | 809963 | 9134018 | 514397 | 0 | 0 | 499565 | 133959 | 577674 | 10362 | 32918938
42 | 2025-12-16 | 621008 | 253959 | 0 | 1553617 | 155771 | 295488 | 19876 | 5370 | 5447746 | 57483 | 0 | 0 | 7232462 | 7214128 | 811512 | 9660663 | 535429 | 0 | 0 | 533218 | 142742 | 676227 | 10368 | 35227067
43 | 2025-12-17 | 670272 | 255422 | 0 | 1715757 | 168492 | 299082 | 22126 | 8168 | 5922592 | 69115 | 0 | 0 | 7850344 | 7870983 | 812160 | 10410693 | 571137 | 0 | 0 | 568577 | 155855 | 806964 | 10368 | 38188107
44 | 2025-12-18 | 695975 | 256455 | 0 | 1881633 | 176374 | 301700 | 22412 | 8620 | 6291095 | 73572 | 0 | 0 | 8437477 | 8425656 | 810280 | 10950182 | 615840 | 0 | 0 | 605008 | 170793 | 871484 | 11568 | 40606124
45 | 2025-12-19 | 726632 | 256700 | 0 | 2032690 | 192188 | 301031 | 22100 | 9611 | 6563212 | 77147 | 0 | 0 | 8894015 | 8861125 | 799000 | 11247922 | 634403 | 0 | 0 | 634479 | 182269 | 915124 | 11900 | 42361548
46 | 2025-12-20 | 775259 | 261318 | 0 | 2231466 | 206362 | 311824 | 29622 | 10362 | 7011923 | 83639 | 0 | 0 | 9665861 | 9648173 | 811690 | 11918996 | 672942 | 0 | 0 | 679227 | 206403 | 969484 | 12089 | 45506640
47 | 2025-12-21 | 903289 | 260991 | 0 | 2376561 | 218176 | 310958 | 113762 | 13123 | 7324184 | 92590 | 0 | 0 | 10304744 | 10195940 | 806990 | 12348436 | 693715 | 0 | 0 | 713895 | 364159 | 1022328 | 13427 | 48077268
48 | 2025-12-22 | 951647 | 262266 | 0 | 2560752 | 235000 | 309872 | 123601 | 13696 | 7639952 | 98505 | 0 | 0 | 10830529 | 10717209 | 804640 | 12750355 | 720949 | 0 | 0 | 750908 | 392960 | 1057943 | 13696 | 50234480
49 | 2025-12-23 | 1002212 | 263032 | 0 | 2758403 | 275657 | 309329 | 125168 | 14845 | 7961585 | 102463 | 0 | 0 | 11392715 | 11247524 | 802760 | 13188260 | 742218 | 0 | 0 | 785444 | 404335 | 1100265 | 14919 | 52491134
50 | 2025-12-24 | 1024704 | 266112 | 0 | 2989054 | 316964 | 314516 | 127872 | 15552 | 8410456 | 108527 | 0 | 0 | 12029126 | 11909625 | 812160 | 13982322 | 755136 | 0 | 0 | 831644 | 419128 | 1170661 | 15552 | 55499111
51 | 2025-12-25 | 700288 | 181412 | 0 | 2164968 | 220998 | 215574 | 87172 | 10602 | 5954084 | 76251 | 0 | 0 | 8516485 | 8401103 | 553660 | 9874354 | 515490 | 0 | 0 | 588591 | 291224 | 833976 | 10602 | 39196834
52 | 2025-12-26 | 21786 | 0 | 0 | 84659 | 2320 | 565 | 0 | 0 | 127495 | 1062 | 0 | 0 | 232281 | 42153 | 0 | 111221 | 9237 | 0 | 0 | 12873 | 3219 | 10237 | 0 | 659108
53 | 2025-12-27 | 33099 | 0 | 0 | 180141 | 5990 | 1720 | 0 | 0 | 334627 | 3268 | 0 | 0 | 489519 | 314275 | 0 | 373085 | 29877 | 0 | 0 | 28405 | 6916 | 53191 | 0 | 1854113
54 | 2025-12-28 | 83754 | 555 | 0 | 375624 | 17724 | 1728 | 0 | 1170 | 727662 | 8161 | 0 | 0 | 964671 | 648140 | 0 | 944136 | 58292 | 0 | 0 | 57417 | 15127 | 136805 | 0 | 4040966
55 | 2025-12-29 | 146312 | 3292 | 0 | 566293 | 39261 | 1723 | 1720 | 1723 | 1112930 | 13138 | 0 | 0 | 1460495 | 1262945 | 0 | 1836196 | 89873 | 0 | 0 | 90011 | 30047 | 214722 | 0 | 6870681
56 | 2025-12-30 | 207846 | 5996 | 0 | 738357 | 58638 | 1689 | 2992 | 2909 | 1404330 | 17700 | 0 | 0 | 1990666 | 1850125 | 0 | 2516987 | 120868 | 0 | 817 | 125549 | 45111 | 244238 | 0 | 9334818
57 | 2025-12-31 | 260337 | 16952 | 0 | 939350 | 67773 | 2389 | 4498 | 3456 | 1805916 | 21769 | 0 | 0 | 2570627 | 2413484 | 0 | 3041110 | 153571 | 0 | 5655 | 163118 | 57662 | 321963 | 0 | 11849630
58 | 2026-01-01 | 309614 | 17990 | 0 | 1132949 | 74969 | 3454 | 6126 | 3454 | 2160729 | 25345 | 0 | 0 | 3043253 | 2915793 | 0 | 3628771 | 197674 | 0 | 18702 | 201064 | 66891 | 380427 | 0 | 14187205
59 | 2026-01-02 | 347357 | 28950 | 0 | 1323925 | 82440 | 3456 | 6912 | 3456 | 2451655 | 29128 | 0 | 0 | 3549322 | 3445685 | 0 | 4341453 | 250028 | 0 | 43149 | 242224 | 76858 | 395060 | 0 | 16621058
60 | 2026-01-03 | 401016 | 43094 | 0 | 1512218 | 93137 | 3456 | 7864 | 3456 | 2794729 | 32305 | 0 | 0 | 4087767 | 3998320 | 0 | 5065566 | 285337 | 0 | 53984 | 273722 | 85465 | 462971 | 0 | 19204407
61 | 2026-01-04 | 450603 | 43703 | 0 | 1682816 | 102577 | 3432 | 9450 | 3432 | 3106662 | 34499 | 0 | 0 | 4608303 | 4485063 | 0 | 5780449 | 311205 | 0 | 68667 | 300626 | 92500 | 513746 | 0 | 21597733
62 | 2026-01-05 | 491312 | 69945 | 0 | 1865287 | 115032 | 3456 | 11036 | 4655 | 3443632 | 40701 | 0 | 0 | 5164030 | 5024418 | 0 | 6478034 | 350917 | 0 | 73498 | 335219 | 103669 | 566249 | 0 | 24141090
63 | 2026-01-06 | 562871 | 88128 | 0 | 1986634 | 141227 | 3456 | 14159 | 5184 | 3743356 | 46017 | 0 | 0 | 5698018 | 5497121 | 0 | 6861192 | 375997 | 0 | 79544 | 369953 | 116102 | 631689 | 0 | 26220648
64 | 2026-01-07 | 626269 | 97134 | 0 | 1989538 | 158975 | 6611 | 17012 | 6264 | 3982226 | 49359 | 0 | 0 | 6260285 | 5947811 | 0 | 7090826 | 408793 | 0 | 80699 | 402546 | 126435 | 687646 | 0 | 27938429
65 | 2026-01-08 | 323333 | 50148 | 0 | 951392 | 80361 | 5579 | 7970 | 3188 | 1975938 | 24336 | 0 | 0 | 3160784 | 2917309 | 0 | 3423247 | 204872 | 0 | 37412 | 202399 | 61731 | 356663 | 0 | 13786662
66 | 2026-01-09 | 67185 | 0 | 0 | 69419 | 16789 | 0 | 0 | 0 | 306761 | 2761 | 0 | 0 | 538463 | 332605 | 0 | 365198 | 31411 | 0 | 0 | 37505 | 8275 | 89842 | 0 | 1866214
67 | 2026-01-10 | 149821 | 3109 | 0 | 257197 | 28973 | 0 | 1153 | 0 | 607607 | 6394 | 0 | 0 | 1038152 | 841574 | 0 | 1038696 | 67047 | 0 | 2897 | 75711 | 19017 | 175028 | 0 | 4312376
68 | 2026-01-11 | 240850 | 5502 | 0 | 460101 | 38196 | 0 | 4809 | 0 | 940504 | 9746 | 0 | 0 | 1572782 | 1370974 | 0 | 1840151 | 91301 | 0 | 3418 | 109505 | 34672 | 260450 | 0 | 6982961
69 | 2026-01-12 | 331377 | 8300 | 0 | 639088 | 50769 | 0 | 10958 | 0 | 1242184 | 12372 | 0 | 0 | 2129262 | 1854013 | 0 | 2408120 | 117892 | 0 | 3444 | 140101 | 50220 | 354763 | 0 | 9352863
70 | 2026-01-13 | 405921 | 13023 | 0 | 796943 | 57710 | 0 | 17646 | 0 | 1564391 | 13990 | 0 | 0 | 2629150 | 2317473 | 0 | 2880042 | 140950 | 0 | 3410 | 169447 | 65351 | 463673 | 0 | 11539120
71 | 2026-01-14 | 265710 | 9729 | 0 | 508451 | 36579 | 0 | 10153 | 0 | 1043337 | 8667 | 0 | 0 | 1693822 | 1448408 | 19807 | 1726355 | 90210 | 0 | 3172 | 107636 | 39014 | 312383 | 0 | 7323433
72 | 2026-01-15 | 77227 | 3151 | 0 | 134827 | 6911 | 0 | 1563 | 0 | 381933 | 1036 | 0 | 0 | 564936 | 340409 | 195362 | 244712 | 32485 | 0 | 9947 | 25814 | 7695 | 132515 | 0 | 2160523
73 | 2026-01-16 | 137747 | 10634 | 0 | 279304 | 19090 | 1687 | 3642 | 0 | 721575 | 2956 | 0 | 0 | 1186197 | 867860 | 402476 | 692925 | 68675 | 0 | 23864 | 58230 | 18661 | 250846 | 0 | 4746369
74 | 2026-01-17 | 189154 | 27327 | 0 | 436487 | 31153 | 3428 | 6538 | 0 | 1085505 | 5066 | 0 | 0 | 1702243 | 1421903 | 598672 | 1322408 | 92107 | 0 | 25710 | 86313 | 28269 | 352927 | 0 | 7415210
75 | 2026-01-18 | 260226 | 46818 | 0 | 601177 | 55700 | 3440 | 11913 | 0 | 1481399 | 8063 | 0 | 0 | 2232959 | 1888301 | 800502 | 1978509 | 112489 | 0 | 25800 | 115301 | 39765 | 449256 | 0 | 10111618
76 | 2026-01-19 | 335844 | 58175 | 0 | 763855 | 71913 | 3454 | 17270 | 0 | 1868710 | 11292 | 0 | 0 | 2801031 | 2409708 | 1006070 | 2763813 | 133710 | 0 | 26136 | 143285 | 52599 | 547301 | 0 | 13014166
77 | 2026-01-20 | 398308 | 70920 | 0 | 893038 | 86529 | 5233 | 18186 | 0 | 2216574 | 14260 | 0 | 0 | 3273640 | 2928192 | 1195852 | 3465362 | 159558 | 0 | 35253 | 172492 | 60568 | 628932 | 0 | 15622897
78 | 2026-01-21 | 464152 | 84094 | 0 | 1024691 | 104737 | 6908 | 21727 | 0 | 2559342 | 17225 | 0 | 0 | 3794435 | 3494083 | 1411475 | 4261988 | 186744 | 0 | 42292 | 204157 | 73317 | 705490 | 0 | 18456857
79 | 2026-01-22 | 522683 | 89530 | 0 | 1175996 | 118278 | 8213 | 23432 | 0 | 2933205 | 20753 | 0 | 0 | 4286663 | 3896934 | 1612253 | 4996464 | 211336 | 0 | 46057 | 234915 | 81882 | 799306 | 0 | 21057900
80 | 2026-01-23 | 586746 | 108646 | 0 | 1333042 | 134651 | 10368 | 26817 | 0 | 3286059 | 23761 | 0 | 0 | 4811979 | 4493875 | 1821313 | 5890520 | 240733 | 0 | 49250 | 269336 | 92565 | 870561 | 0 | 24050222
81 | 2026-01-24 | 648907 | 122346 | 0 | 1455759 | 146469 | 11511 | 29920 | 1326 | 3644560 | 26070 | 0 | 0 | 5322422 | 4992294 | 2023367 | 6775260 | 265875 | 0 | 54676 | 301590 | 101629 | 963423 | 0 | 26887404
82 | 2026-01-25 | 707259 | 132707 | 0 | 1589803 | 156842 | 13824 | 32373 | 1728 | 4016735 | 28840 | 0 | 0 | 5920239 | 5530920 | 2222964 | 7576815 | 302497 | 0 | 60381 | 331251 | 109989 | 1046306 | 0 | 29781473
83 | 2026-01-26 | 746478 | 144577 | 0 | 1726452 | 166495 | 13824 | 33788 | 1728 | 4390708 | 30734 | 0 | 0 | 6473124 | 6049349 | 2422101 | 8284396 | 337333 | 0 | 66855 | 363011 | 118109 | 1139816 | 0 | 32508878
84 | 2026-01-27 | 805710 | 164264 | 0 | 1864318 | 189539 | 15009 | 35896 | 1727 | 4770334 | 33994 | 0 | 0 | 7029310 | 6490599 | 2622210 | 8879261 | 392085 | 0 | 77697 | 410793 | 126216 | 1225898 | 0 | 35134860
85 | 2026-01-28 | 874691 | 173887 | 0 | 1976005 | 205890 | 18182 | 38321 | 1718 | 5119365 | 38979 | 0 | 0 | 7523954 | 7047002 | 2811735 | 9691898 | 424852 | 0 | 85156 | 441355 | 134786 | 1282448 | 0 | 37890224
86 | 2026-01-29 | 930451 | 193075 | 0 | 2117172 | 217786 | 19555 | 40937 | 1728 | 5513915 | 42383 | 0 | 0 | 8121834 | 7606449 | 3035007 | 10438454 | 458654 | 0 | 94829 | 476291 | 144280 | 1347438 | 0 | 40800238
87 | 2026-01-30 | 977596 | 209360 | 0 | 2270938 | 229635 | 20736 | 43929 | 1946 | 5877715 | 50277 | 0 | 0 | 8708742 | 8206185 | 3242756 | 11238635 | 488169 | 0 | 107056 | 512707 | 154729 | 1399787 | 0 | 43740898
88 | 2026-01-31 | 1017851 | 225887 | 0 | 2460604 | 241869 | 23305 | 48054 | 4806 | 6217066 | 63663 | 0 | 0 | 9147002 | 8619645 | 3434781 | 11874503 | 562600 | 0 | 116902 | 553299 | 167119 | 1446743 | 0 | 46225699
89 | 2026-02-01 | 1061630 | 245639 | 0 | 2641158 | 250871 | 25920 | 50710 | 5184 | 6541234 | 68300 | 0 | 0 | 9561424 | 9147712 | 3626789 | 12862372 | 647654 | 0 | 126642 | 595597 | 176723 | 1491399 | 0 | 49126958
90 | 2026-02-02 | 1102404 | 277692 | 0 | 2814401 | 259724 | 25920 | 54419 | 5184 | 6852865 | 70830 | 0 | 0 | 10033514 | 9540357 | 3820990 | 13656686 | 723368 | 0 | 141832 | 633247 | 187772 | 1558737 | 0 | 51759942
91 | 2026-02-03 | 1165497 | 296075 | 0 | 2974716 | 268955 | 27796 | 57959 | 5181 | 7181118 | 73808 | 0 | 0 | 10491119 | 10082678 | 4011702 | 14623014 | 773764 | 0 | 160515 | 672231 | 199684 | 1615965 | 0 | 54681777
92 | 2026-02-04 | 1237070 | 318235 | 0 | 3129583 | 281476 | 31104 | 62654 | 6276 | 7507873 | 80465 | 0 | 0 | 11055056 | 10602625 | 4217239 | 15320272 | 813748 | 0 | 180683 | 712176 | 211319 | 1706334 | 0 | 57474188
93 | 2026-02-05 | 1252198 | 335220 | 0 | 3208850 | 287857 | 31094 | 63823 | 8147 | 7661970 | 91537 | 0 | 0 | 11398389 | 10900594 | 4322010 | 15673882 | 902887 | 0 | 197831 | 728800 | 215815 | 1764359 | 0 | 59045263
94 | 2026-02-06 | 1329742 | 354640 | 0 | 3382192 | 299476 | 32395 | 67483 | 8525 | 8075671 | 97033 | 0 | 0 | 12025968 | 11595978 | 4561066 | 16686448 | 994883 | 0 | 214107 | 771869 | 229215 | 1872474 | 0 | 62599165
95 | 2026-02-07 | 1412457 | 364390 | 0 | 3526978 | 322738 | 33514 | 71287 | 8640 | 8583878 | 101551 | 0 | 0 | 12694719 | 12265080 | 4821754 | 17668138 | 1094124 | 0 | 226841 | 824469 | 243233 | 2009321 | 0 | 66273112
96 | 2026-02-08 | 1467181 | 385742 | 0 | 3607544 | 335207 | 34540 | 74266 | 8635 | 8942902 | 103654 | 0 | 0 | 13264709 | 12781794 | 5016669 | 18210794 | 1135782 | 0 | 229777 | 859662 | 253077 | 2092946 | 0 | 68804881
97 | 2026-02-09 | 1536686 | 402361 | 0 | 3736593 | 358035 | 37522 | 78141 | 8640 | 9296488 | 106531 | 0 | 0 | 13802347 | 13333800 | 5216397 | 18870888 | 1173532 | 0 | 231552 | 891739 | 263812 | 2175309 | 0 | 71520373
98 | 2026-02-10 | 1601832 | 430405 | 0 | 3878423 | 381357 | 39744 | 80895 | 10026 | 9635596 | 108465 | 0 | 0 | 14361394 | 13847734 | 5412610 | 19861405 | 1217407 | 0 | 231552 | 928341 | 272981 | 2246616 | 0 | 74546783
99 | 2026-02-11 | 1620404 | 450552 | 0 | 3897325 | 384003 | 38893 | 82145 | 10146 | 9776347 | 108325 | 0 | 0 | 14547054 | 13890652 | 5497672 | 20112237 | 1222997 | 0 | 229674 | 943521 | 274928 | 2275227 | 0 | 75362102
100 | 2026-02-12 | 1699441 | 493665 | 0 | 4054275 | 400796 | 43316 | 87926 | 10362 | 10329945 | 113525 | 0 | 0 | 15387016 | 14562593 | 5817055 | 21036083 | 1281938 | 0 | 245047 | 996992 | 290091 | 2401019 | 0 | 79251085
101 | 2026-02-13 | 1762697 | 535656 | 0 | 4140546 | 410543 | 46656 | 90512 | 10368 | 10704802 | 117000 | 0 | 0 | 15939585 | 15119542 | 6031462 | 21585830 | 1311804 | 0 | 252144 | 1028486 | 298699 | 2473581 | 0 | 81859913
102 | 2026-02-14 | 1788396 | 585683 | 0 | 4191645 | 415021 | 46197 | 92044 | 10266 | 10979467 | 118027 | 0 | 0 | 16371161 | 15519956 | 6171356 | 22338462 | 1318731 | 0 | 251517 | 1046632 | 303148 | 2539907 | 0 | 84087616
103 | 2026-02-15 | 1889849 | 629766 | 0 | 4327224 | 427295 | 48716 | 98537 | 10368 | 11456470 | 122016 | 0 | 0 | 17193155 | 16221090 | 6425821 | 23204799 | 1352248 | 0 | 257031 | 1085534 | 318304 | 2641406 | 0 | 87709629
104 | 2026-02-16 | 1968863 | 651780 | 0 | 4407526 | 434086 | 51055 | 104780 | 10368 | 11829531 | 122926 | 0 | 0 | 17765684 | 16790477 | 6624379 | 24076997 | 1383068 | 0 | 261943 | 1114522 | 331499 | 2735234 | 0 | 90664718
105 | 2026-02-17 | 2001969 | 675596 | 0 | 4497115 | 440922 | 53309 | 108059 | 10362 | 12201574 | 125439 | 0 | 0 | 18343795 | 17306219 | 6825630 | 24619422 | 1463070 | 0 | 269095 | 1151641 | 341491 | 2836768 | 0 | 93271476
106 | 2026-02-18 | 2049434 | 704566 | 0 | 4669158 | 454501 | 55296 | 111441 | 10368 | 12627157 | 127584 | 0 | 0 | 18932023 | 18119444 | 7030101 | 25514788 | 1520547 | 0 | 277986 | 1188596 | 352052 | 2981710 | 0 | 96726752
107 | 2026-02-19 | 2114489 | 732432 | 0 | 4850132 | 472099 | 55296 | 114129 | 10368 | 13043924 | 130910 | 0 | 0 | 19558350 | 18374535 | 7232724 | 26052666 | 1597547 | 0 | 288256 | 1219598 | 360266 | 3119647 | 0 | 99327368
108 | 2026-02-20 | 2161135 | 768955 | 0 | 5029816 | 484500 | 55296 | 117583 | 10368 | 13474193 | 134073 | 0 | 0 | 20093687 | 18885875 | 7437375 | 26895620 | 1667444 | 0 | 298181 | 1250285 | 369105 | 3258097 | 0 | 102391588
109 | 2026-02-21 | 2211731 | 800178 | 0 | 5203696 | 492660 | 57336 | 121778 | 10362 | 13826419 | 135889 | 0 | 0 | 20652193 | 19505755 | 7639194 | 27671860 | 1736395 | 0 | 314446 | 1280046 | 379042 | 3343569 | 0 | 105382549
110 | 2026-02-22 | 2258377 | 822528 | 0 | 5374826 | 501380 | 58752 | 124940 | 10368 | 14245346 | 137713 | 0 | 0 | 21209395 | 19777712 | 7852238 | 28263187 | 1794891 | 0 | 332146 | 1315877 | 388679 | 3471777 | 0 | 107940132
111 | 2026-02-23 | 2190213 | 807893 | 0 | 5305966 | 487349 | 56236 | 122823 | 9924 | 14016092 | 133480 | 0 | 0 | 20582783 | 19161103 | 7717991 | 27599770 | 1789218 | 0 | 340195 | 1298265 | 381878 | 3446662 | 0 | 105447841
112 | 2026-02-24 | 2335906 | 877743 | 0 | 5717049 | 520082 | 58752 | 130821 | 10368 | 15002718 | 140213 | 0 | 0 | 21656618 | 20339579 | 8274163 | 29608697 | 1899853 | 0 | 371342 | 1387550 | 408256 | 3701561 | 0 | 112441271
113 | 2026-02-25 | 2432788 | 890793 | 0 | 5886512 | 525240 | 58718 | 134905 | 10362 | 15344313 | 141862 | 0 | 0 | 22112606 | 20816071 | 8480386 | 30532187 | 1929301 | 0 | 392155 | 1418824 | 417899 | 3793778 | 0 | 115318700
114 | 2026-02-26 | 2483137 | 915711 | 0 | 6057309 | 531313 | 58752 | 145636 | 10368 | 15696282 | 143424 | 0 | 0 | 22737678 | 21155147 | 8687611 | 31149652 | 1990824 | 0 | 406282 | 1452145 | 437986 | 3908971 | 0 | 117968228
115 | 2026-02-27 | 2555588 | 940044 | 0 | 6218726 | 536829 | 60063 | 151585 | 10368 | 16047000 | 145083 | 0 | 0 | 23049433 | 21561832 | 8894341 | 32039642 | 2052913 | 0 | 417595 | 1483591 | 452301 | 4006139 | 0 | 120623073
116 | 2026-02-28 | 2474348 | 921768 | 0 | 6074606 | 519333 | 59220 | 146054 | 9870 | 15615835 | 139304 | 0 | 0 | 22382939 | 20923623 | 8662339 | 30974853 | 2012643 | 0 | 410941 | 1463985 | 438615 | 3920606 | 0 | 117150882
117 | 2026-03-01 | 17177 | 14878 | 0 | 73352 | 1681 | 0 | 280 | 0 | 169035 | 0 | 0 | 0 | 339584 | 257463 | 88666 | 322208 | 16872 | 0 | 8185 | 16672 | 4052 | 42497 | 0 | 1372602
118 | 2026-03-02 | 56643 | 29864 | 0 | 232946 | 8543 | 0 | 2937 | 0 | 534311 | 1290 | 0 | 0 | 897273 | 804696 | 275272 | 995916 | 53843 | 0 | 29348 | 53139 | 13130 | 151380 | 0 | 4140531
119 | 2026-03-03 | 106785 | 43442 | 0 | 356412 | 16689 | 1729 | 5871 | 0 | 938703 | 1727 | 0 | 0 | 1476040 | 1276738 | 510356 | 1704848 | 88892 | 0 | 47296 | 83630 | 22213 | 285845 | 0 | 6967216
120 | 2026-03-04 | 160302 | 59571 | 0 | 448082 | 25754 | 3456 | 8669 | 0 | 1345032 | 3285 | 0 | 0 | 1935273 | 1773740 | 767694 | 2575581 | 115128 | 0 | 57075 | 112406 | 30968 | 424354 | 0 | 9846370
121 | 2026-03-05 | 117353 | 55533 | 0 | 331511 | 20203 | 2154 | 6462 | 0 | 1029648 | 2820 | 0 | 0 | 1470371 | 1309176 | 594569 | 1890764 | 97467 | 0 | 37215 | 93318 | 23436 | 324705 | 0 | 7406705
| Total | 116361531 | 25816719 | 194597 | 196320513 | 30493294 | 12294656 | 4579974 | 5690568 | 615187841 | 5408092 | 6211554 | 6723871 | 1129736510 | 1095339468 | 235203923 | 1386590174 | 58122089 | 39931014 | 230477696 | 53845099 | 29158705 | 112638245 | 9131256 | 5405457389